## Slide 1: Cosmic Ray Physics at Hartnell College: A Case Study in Successful Undergraduate Research at a Two-Year College
Leo Osornio Hartnell College Presented at the 2012 AAPT Summer Meeting, Philadelphia July 30, 2012

## Slide 2: Background
Hartnell College Salinas, CA
Prospective Physics Teacher
Lawrence Berkeley National Lab (LBNL) Cosmic Telescope Project
20 weeks and counting
Most recently 8 weeks at LBNL testing Silicon Photomultiplier
Cosmic Ray Fan ? What does this comment mean ?

## Slide 3: What is a cosmic ray?
High Energy Particles
Originate in Outer Space
Create “cosmic showers” upon entering the atmosphere
Focus on detecting the muons

## Slide 4: How the rays are detected
Two Sensors
“Coincidence” Counting
Uses the electronics to find simultaneous events
Helps eliminate some background noise
You already know I’m not a fan of this diagram –
I thought there was a better one somewhere
It’s unprofessional looking … the audience can’t
Make out the details.

## Slide 5: Detector Construction
Three phases:
  Sensor, Circuit board, Housing
Sensor
  Photomultiplier tube (PMT) and scintillator
  Light proof wrapping
ONE MORE PICTURE WILL GO HERE
Consolidate Detector Construction
And Testing

## Slide 6: Detector Construction
Circuit Board
  Determines which counts happen in coincidence
Housing
  Protects equipment and ensures consistent data
Consolidate Detector Construction
And Testing

## Slide 7: Testing
TWO OR THREE MORE PICTURES WILL GO HERE
Consolidate Detector Construction
And Testing

## Slide 8: Results
Zenith Angle Test
  Angular Dependence
Used to test sensors
Baseline for fully assembled detector
It works!
Consolidate Slides 8 + 9

## Slide 9: Results
Zenith Angle Test for Detector Only (No NIM)
Consolidate Slides 8 + 9; Do you have the data points / Can you get the data points? I’m tempted to try a different Cosine fit.

## Slide 10: Silicon Photomultiplier (SiPM)
SenL Product
Less Voltage
Less Noise
Cheaper
Possible replacement
Testing needed

## Slide 11: Rewrap/Light Testing
Preparation for the SiPM
Focused on how the detectors are wrapped
Vernier LabQuest unit
Outdoor tests
  Identified detectors in need of wrapping
  Checked the rewrap.
Text smaller – move title higher if you need to make middle plot bigger

## Slide 12: Polishing/Paddle Creation
SiPM needed a custom scintillator
Studied how it is polished
Combined with wrapping techniques discussed earlier to make paddle
Set in coincidence with a PMT for final testing

## Slide 13: Plateau Graph
Interested in noise
Test done in coincidence
First trial with PMTs only
Final test with SiPM and PMT
Inconclusive
  Threshold level of NIM equipment
Text smaller – move title higher if you need to make plots bigger

## Slide 14: Delay Testing
Other SiPM test
Also in coincidence
Delayed one signal by 150ns
Determined counts of noise
Compared to baseline counts
Verified counting ability
Can you add arrows + labels: what are the scope curves showing?

## Slide 15: Conclusions/Outlook
SiPM can “see” cosmic rays
More testing needed
Will look at increasing gain
Using two SiPMs in coincidence
Possible Replacement
Help with Expansion
A great tool

## Slide 16: Acknowledgements
Original Partner : Scott Davis
Mentors : Dr. Howard Matis, Dr. Sewan Fan, Dr. Brooke Haag, Grant Director : Dr. Kelly Locke
Lawrence Berkeley National Lab
  Mario Cepeda
  Pete Chavez
Department of Education Grant
  HSI-STEM P031C110168

## Slide 17: Thank you for you time
For more information visit http://cosmic.lbl.gov/